## Mixer1_10742
600 |  |  |  | ???
MIXER1 |  |  |  | <-- stage identifier text
1 |  |  |  | ???
4 |  |  |  | ???
4 |  |  |  | ???
NON-NON-SF-Sig |  |  |  | <-- BEGINNING OF PROCESS TUNING SECTION
3 |  |  |  | ???
Output from Mixer1, SFS polarization - vertical, DM3 - open
Mixer1 rotation axis - horizontal (when motor is down). |  |  |  | <-- filter/polarization message
If SFS is used in your applications - proper wavelength separator should be mounted on Mixer2 to reflect SFS sidewards
1 |  |  |  | <-- polarization (1=V, 0=H)
793 |  |  |  | <-- pump wavelength
1 |  |  |  | <-- number of motors
-2.917 |  |  |  | <-- motor offset
13 |  |  |  | <-- number pts composing tuning curve
1151.0236 | 467 | 1 | 236.7878
1181.8817 | 472 | 1 | 237.4962
1213.739 | 477 | 1 | 238.3295
1246.6449 | 482 | 1 | 239.1628
1280.6519 | 487 | 1 | 239.9128
1315.816 | 492 | 1 | 240.7045 | <-- tuning curve data
1352.1979 | 497 | 1 | 241.4962
1389.8616 | 502 | 1 | 242.3712
1428.8759 | 507 | 1 | 243.0378
1469.3149 | 512 | 1 | 243.7462
1511.2583 | 517 | 1 | 243.3045
1554.7914 | 522 | 1 | 243.142
1600.0065 | 527 | 1 | 243.142 | <-- END OF PROCESS TUNING SECTION
NON-NON-SH-Sig
3
Output from Mixer1, SHS polarization - horizontal, DM3 - closed
Mixer1 rotation axis - vertical (when cover is up).
If SHS is used in your applications - proper wavelength separator should be mounted on Mixer2 to reflect SHS downwards
0
793
1
-1.712
25
1140 | 570 | 1 | 121.8327
1160 | 580 | 1 | 120.2198
1180 | 590 | 1 | 121.2698
1200 | 600 | 1 | 121.9948
1220 | 610 | 1 | 122.6032
1240 | 620 | 1 | 122.7657
1260 | 630 | 1 | 122.8532
1280 | 640 | 1 | 122.5157
1300 | 650 | 1 | 123.8532
1320 | 660 | 1 | 124.2865
1340 | 670 | 1 | 123.999
1360 | 680 | 1 | 124.4157
1380 | 690 | 1 | 124.2448
1400 | 700 | 1 | 124.8532
1420 | 710 | 1 | 124.7907
1440 | 720 | 1 | 124.2493
1460 | 730 | 1 | 123.6868
1480 | 740 | 1 | 124.1202
1500 | 750 | 1 | 123.541
1520 | 760 | 1 | 124.7868
1540 | 770 | 1 | 124.3698
1560 | 780 | 1 | 124.4993
1580 | 790 | 1 | 123.916
1600 | 800 | 1 | 123.9785
1620 | 810 | 1 | 124.0827
NON-NON-SH-Idl
3
Output from Mixer1, SHI polarization - vertical, DM3 - closed
Mixer1 rotation axis - horizontal (when motor is down).
If SHI is used in your applications - proper wavelength separator should be mounted on Mixer2 to reflect SHI sidewards
1
793
1
-2.625
20
1580 | 790 | 1 | 125.6
1620 | 810 | 1 | 125.5125
1660 | 830 | 1 | 125.3542
1700 | 850 | 1 | 125.1
1740 | 870 | 1 | 124.8125
1780 | 890 | 1 | 124.475
1820 | 910 | 1 | 124.1875
1860 | 930 | 1 | 123.8083
1900 | 950 | 1 | 123.3958
1940 | 970 | 1 | 123.2708
1980 | 990 | 1 | 122.4333
2020 | 1010 | 1 | 121.975
2060 | 1030 | 1 | 121.6042
2100 | 1050 | 1 | 121.1875
2140 | 1070 | 1 | 120.6833
2180 | 1090 | 1 | 120.3083
2220 | 1110 | 1 | 120.0625
2260 | 1130 | 1 | 119.8542
2300 | 1150 | 1 | 119.6875
2340 | 1170 | 1 | 119.6
NON-NON-SF-Idl
3
Output from Mixer1, SFI polarization - vertical, DM3 - open
Mixer1 rotation axis - horizontal (when motor is down).
If SFI is used in your applications - proper wavelength separator should be mounted on Mixer2 to reflect SFI sidewards
1
793
1
-2.708
17
1554.7914 | 522 | 1 | 121.9788
1600.0065 | 527 | 1 | 122.2288
1647.0027 | 532 | 1 | 122.7705
1695.8877 | 537 | 1 | 122.4747
1746.7776 | 542 | 1 | 122.6205
1799.7982 | 547 | 1 | 122.6413
1855.0863 | 552 | 1 | 122.3955
1912.7905 | 557 | 1 | 122.6872
1973.0726 | 562 | 1 | 122.6663
2036.1095 | 567 | 1 | 122.7413
2102.0942 | 572 | 1 | 123.6455
2171.239 | 577 | 1 | 123.7663
2243.7756 | 582 | 1 | 123.7247
2319.9607 | 587 | 1 | 123.4747
2400.0759 | 592 | 1 | 123.7455
2484.4341 | 597 | 1 | 123.533
2573.3809 | 602 | 1 | 124.0205